## Slide 1: Please place all content on slides
PowerPoint will be formatted after all information has been submitted
It’s All About Carbon:
Nutrient Removal at the City of Boulder
Cole Sigmon, PE, CWP
Wastewater Treatment Manager
Utilities Department, City of Boulder

## Slide 2: Carbon Case Studies
Carbon Management
Rethinking waste: External Carbon
Shopping local: Carbon Balance

## Slide 3: Rethinking “Waste” – External Carbon Carbon and Denitrification
O2
(aeration)
COD (carbon)

## Slide 4: Not all Carbon
Is Created Equally
Total COD
Biodegradable COD
Readily Biodegradable (soluble)
NB Soluble
NB Particulate
Slowly Biodegradable (particulate)
Nonbiodegradable COD
Complex
VFA
Colloidal
Particulate

## Slide 5: Rethinking “Waste” – External Carbon External Carbon Storage and Feed Facility

## Slide 6: Rethinking “Waste” – External Carbon BOD Excess User Fees Reimagined

## Slide 7: Beer-Enhanced Nitrogen Removal Nitrogen Performance
Chart: Effluent Nitrate, mg/L as N
External Carbon Addition

## Slide 8: Shopping Local – Carbon Balance

## Slide 9: Energy Recovery – Biogas to RNG Project Overview
Digester gas production
Biogas treatment system
Pipeline injection and conveyance
End use as vehicle fuel by Western Disposal

## Slide 10: Summary
Not all carbon is created equally
Rethink “waste” BOD
Shop Local

## Slide 11: Please place all content on slides
PowerPoint will be formatted after all information has been submitted
sigmonc@bouldercolorado.gov

## Slide 13
Dosing to post-anoxic zone
Nitrate pacing
Operational flexibility
Rethinking “Waste” – External Carbon External Carbon Storage and Feed Facility

## Slide 14: Energy Recovery – Biogas to RNG Background
Anaerobic Digesters process municipal sludge
CoGen System from 1986 was failing
New CoGen not economically viable
RNG technology and subsidy intersection
Onsite use not possible – City going to EVs